YEAR 13 TECHNOLOGY – METAL

Sustainability – Energy Efficiency

Sustainability – 2013 Class Definition:

To maintain social, economic and environmental demands self-sufficiently preserving resources for future needs

AUDIT CHECKLIST

Name Date Address Town (Urban) / Rural (Rural) No. People Residing: __________ Adults:___________Teens:___________ Children (<13): ___________

Source: Otago University

| Facts / Hardware / Habit | Results / Notes |
| --- | --- |
| Rates – Property Stormwater Targeted-Whakatane Stormwater – Whakatane Sewerage – Whakatane Connected Refuse Removal Rate - Urban Other Other impacts of Sewerage/Refuse/Stormwater removal: | $_______ / year $_______ / year $_______ / year $_______ / year $_______ / year Total of above $_______ / year |
| Rates – Water Supply Charge $ _______ / 3 mth Supply Charge $ _______ / year (a) Charge per unit $ _______ / m³ Water Volume used ________ m³ (3 mth) “Amount” $ _______ Full “YTD Usage” ________ m³ / year Estimated Annual Unit Cost $ _______ / year (b) Total Estimated Annual Cost $ _______ (a + b) |  |
| Energy - Power – Electricity Bill Cost last month $ _______ No. of Days _______ Cost per day = $_______ / day Cost per hour = $_______ / hour (÷ 24) Estimated Average per month $ ________ Summer $_______ / month (estimate) Winter $_______ / month (estimate) Electricity Consumption for last 12 months: = _______ kWh (NZ average = 11,410 kWh/year (Otago University)) Electricity Consumption per Day: = 12 months kWh ÷ 365 = _______ ÷ 365 = _______ kWh / day (NZ average = 31 kWh/day) Electricity Cost per last 12 months: = _______ kWh x ______ ¢ / kWh = ________$ / year Daily Line Charge $_______ / day Yearly Line Charge =  x 365 = $ ______ Total Yearly Electricity Cost $ _______ GST (15%) $ _______ Total $ _______ Electricity Generation On-Site Solar PhotoVoltaics (PV) Wind Mill (Turbine) Micro-Hydro (Water Turbine) System setup: ______________________________ Amount of Electricity Generated /day /year ______________________________ Comments: Electricity Usage Monitoring Cent-a-meter (or similar) installed Homeowners using it? Benefits? |  |
| Energy – Gas Fuel (Non Renewable Resource) Type _______________________________ (Bottle = LPG, Reticulated (pipes from street = Natural Gas), Used where __________________________ Used for __________________________ Cost - Date ______________ - Quantity ______________ kg, L, m³ Carbon Charge $ _______ Estimated Ave $ per month $ _______ Estimated Cost per year $ _______ Problems / Issues: (Cost/Health/Safety/Moisture) Homeowner Future Intentions with Gas usage: |  |
| Energy - Fire Place Fuel Fuel Type _______________________________ (Wood , Pellets, Compressed Logs, etc, mix hard/soft wood), Cost $ _________/ year (Estimated - may be free if grow / given / collect / forage) Ageing / Seasoning Duration Before Use ______________________ months Must Dry 12-18mths before use Storage ________________________________ Off Ground, Air Flow , Dry, Sunlight, Under Cover |  |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Incoming Water Incoming Water Source(s) ________________________________________ ________________________________________ (Town supply, bore, river, rainwater, recycled water sources – grey or black water) Rainwater Harvesting ___________________ Intentions to Collect Rainwater ___________________ ____________________________________________ Total Capacity of Drinking Tanks (if any) ___________ L Cost per year $ ___________ see above or estimate from kW of water pump x how many hours it runs per day x $/kWh x 365 days: = ____ kW x _____ hr x ______ $/kWh x 365 = $ __________ Leaks – taps, pipes, toilet cistern, pool Shower Flowrate = ______ L/min (shwr _______) = ______ L/min (shwr _______) = ______ L/min (shwr _______) Average = ____ L/min Duration _________ min (ave) x _____ People = ______ min total / day x ______ L/min = ______ L / day If 50% of shower water is hotwater then: ÷ 2 (divide in half) = ______ L / day hotwater used Cost to Heat Replacement Water: = ______ L / day x 0.045 kWh/L (assuming hot water 60°C, in 15°C) = ______ kWh x ______ ¢/kWh = ______ ¢ = $_____ Cost of all showers per day Bath Use more water than double of a 5 min shower. Frequency of Use / Preference / Comments: Bathroom Turn off taps while brush teeth / shaving Taps leaking? Toilet Dual flush (save water or jar/object in cistern) Toilet Cistern leaking? Kitchen Dishwasher - full loads only - star rating ______________ (out of 6) Laundry Washing Machine - full loads only - front loader (efficient) / top loader (not) - Water Use Efficient Rating (WELS)? _______ - Star rating ______________ (out of 6) Garden Watering Habits Pool (refilling) Spa Pool |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Water Heating Hot Water Cylinder - Brand (Manufacturer) _____________ Note – Rheem = glass lined steel & need anode corrosion protection block replaced every 5 years & not recommended for Solar Water Heating (glass lining cracks) - Date (Made) ___________ (post ’86 good insulation) - Volume ___________ L (180L = needs 2 solar water heating panels, etc) - Feel / Touch ____________ (outside near top warm (needs wrapping) / cold) - High (Mains) / Low Pressure ____________ (unless flow restrictors on outlets/taps Mains pressure results in unnecessarily high usage / wastage) - Temperature Setting ____________ (Caution – do not access Electrical Thermostat area without trained supervision, Safe Method = measure with thermometer at a Hot Tap) (Thermostat Setting should be reduced to give 55°C+ at tap) (Note – adjusting Thermostat settings can result in Thermostat failure – particularly if Thermostat is old & not adjusted for some time) Hot Water Pipes - Lagged (Insulated) _____________ (header pipe / hot pipes to bathroom / kitchen / laundry…) Fire or “Chippy” Wetback (Hot Water) - Where located __________________ - Comments about how effective it is ___________________________________ Solar Water Heating - Flat Panel System - No. Panels _________ - Evcuated Tube System - No. Tubes _________ - Comments on effectiveness: Heat Pump Water Heating - Size of Unit __________ kW - Connection Type to Cylinder Gas Water Heating - Size of Unit __________ kW - Connection Type to Hot Supply (Part of Hot Water Cylinder / In-line after Cylinder (“top up”)) |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Lighting Incandescent No. _________ Total ______ W Halogen No. _________ Total ______ W Fluorescent No. _________ Total ______ W ECO Bulb No. _________ Total ______ W LED No. _________ Total ______ W Total No. _________ Total ______ W Note – include outside lights, garage & security lights Passive (Solar Tubes/Skylight) No. ______ = 0 W Downlights No ___________ Expensive to run (Watts) & heat escape to ceiling unless capped Cost Estimate the total Watts x Hours by looking at each light, writing down the Watts and how long it runs for per day, add all these up and times by ¢/kWh to get Total Cost. Eg. 100W x 2h + 75W x ½h +…. = 2000Wh per day x 26.4¢/kWh = 52.8 ¢/day = $15.82 / month |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Insulation Ceiling Insulation - Thickness (<75 100 150 200 mm ________) - Type / Make ________________________ - Quality (Condition) ___________________ - Installation Quality / Status ___________________________________ (Gaps between Insulation pieces, Gaps between insulation and timber, Blanket Insulation better than pieces (biscuit insulation) Wall Insulation (internal) - Exterior Walls - Internal Walls (at least around main living/heating area) Windows - Glazing = Single/Double - Insulating Plastic Film Kit - Frames = Aluminium / Timber - Air Leak (Drafts) - Water Leak (damage / moisture) - Pelmets over Curtains (prevent warm air flow down onto glass) Curtains - Thermal/NonThermal - Full length to floor - Room Without Curtains - Usage Behaviour – open day/close evening Floor Type ___________________________ Gaps / Drafts ___________________________ Floor Coverings ___________________________ Under Floor Insulation - Type / Make ________________________ (Foil (reflective type), Pink Batts, Expol / Polystyrene, Polyester) - Quality (Condition) ___________________ - Installation Quality / Status ___________________________________ (Gaps between Insulation pieces, Gaps between insulation and timber) - Repairs Needed / Areas Not Insulated ___________________________________ (Fix torn foil with Foil Tape / Replace with new alternative) Under Floor Moisture - Assess Damp / Wet State of Soil - Ground Moisture Vapour Barrier (Black Polythene on ground & secured) |  |  |  |
| --- | --- | --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |  |  |
| Space Heating Main Type of Heating ____________________________________________ (Wood Fire, Heat Pump, Oil Column, Radiant Bar, Portable LPG Gas, Ground Heating System, Central Heating System (Boiler – Gas/Diesel/Pellets/etc), Solar (passive sunlight – direct) Solar (passive sunlight – indirect through active ventilation system) Fuel Used: __________________________________ kW Rating _____________ kW (View device “nameplate”, old wood fire typically 9kW, open fire ~3kW) Cost per year ______________________ (34% of Electricity Bill / Firewood Purchase Cost / Gas Heating Fuel Cost) Homeowner Comments on Heating Effectiveness ___________________________________________ ___________________________________________ ___________________________________________ (Sufficient / Adequate Heating? Efficient? eg. heat pumps 3.7 times cheaper to run than standard heater, modern fires burn hotter (extract more heat energy and emit fewer ash g/kg firewood but cannot be shut right down at night time so burn out overnight (no smouldering)) Calculate kW required for main living area: = Length __________ m x Width __________ m x Height __________ m (eg. typical 2.4m) = ___________ m³ Energy Required to Heat: = ___________ m³ x 50 or 65W/m³ (50W/m³ Insulation Good, 65W/m³ Insulation Poor) = __________ W = __________ kW (÷ 1000) (To heat to 21°C when 7°C outside) Existing Heating Appliance = kW Required? ___________________________________________ ___________________________________________ |  |  |  |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |  |  |
| Cooling Air Condition / Heat Pump Circulating Fans Shading of Windows - eaves - trees deciduous (loses leaves in Winter = Sun enter house) Ventilation (See below) |  |  |  |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |  |  |

| Ventilation Air turnover per hour ___________ (estimate) NZS4303 “Ventilation for Acceptable Indoor Air Quality”= one air change every 3 hours Fresh Air Feel _______________________________________ (Drafty / Not Drafty / Damp / “Musty” / Cold Feel to Bare Feet (moisture conducts heat away from feet faster than dry flooring/carpeting) Draft Strips __________________________________ (Brush Strips / Weather Seals under Doors / Seals around Windows) HRV/DVS System (forced / active ventilation) - Present?________________ - Comments by Homeowner ___________________________________ ___________________________________ ___________________________________ Heat Transfer System (simple fan forced warm air distribution/ducting) - Present?________________ - Habits of Use? ______________________ ___________________________________ ___________________________________ ___________________________________ - Comments by Homeowner (effectiveness) ___________________________________ ___________________________________ ___________________________________ |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Appliances No. of Appliances ___________ (Total) (Count electrical devices in every room) No. of Appliances Left Turned On _______________ (Always) No. of Appliances Left On STANDBY ____________ Reasons why _______________________________ __________________________________________ __________________________________________ __________________________________________ Appliances that have More Efficient Alternatives __________________________________________ __________________________________________ __________________________________________ (Energy STAR Rating, Mechanical Controls NOT Digital Readout, Lower Water Consumption, Smaller Version, Combined Appliances) |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Laundry / Bathroom Washing Machine - Type _____________________________ (Front loader less water & less energy than Top loader) - Cold Wash Only __________________________________ Clothes Dryer - Vented outside ____________________ - Frequency of Use ____________________ Dry Clothes Outside on clothesline (no moisture & no electricity) Towel Rails - No. ______ Total _________ Watts - Hours Left On ____________ h/day - Timer ___________ - Cost = _____ W x ______h/day x 365 x _____¢/kWh =__________ ¢/year ÷ 100 = _________ $/year |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Kitchen / Cooking Oven Seals around doors Cooktop Hood Extractor - Grill/Filters ______________________ Clean Regularly / State of Openness – remove & Check Microwave Very Energy Efficient (concerns about food quality degradation but low cost) Kettle - Fill only with required quantity of water - Do not re-boil for the future (heat when needed) Refrigerator - No. Of Fridges _____ Total ________ W - No. of Freezers _____ Total ________ W - Seals (visual inspection & torch on inside) - Star Rating (out of 6) - Ventilation – 100+mm gap all around - Clean condenser grill at rear (6mthly) Dishwasher - Cold Fill only – Self Heat-up of Water (hot water stays in & cools in pipes from Hot Water Cylinder = waste) - Full Loads Only - ECO Cycle |  |
| --- | --- |
| Kitchen / Cooking …continued Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Own Food Vegetable Garden Range of Food: Fruit Trees Chickens Beef/Sheep Milk Nut Trees Buy Local – Farmers Market |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Waste Organic: - Worm Farm / Compost / Chickens / Kerbside collection Green Waste (bad) Recycled Paper Recycled Plastic Recycled Metals (incl other than green bin) Recycled Glass Grey Water – containment / treatment / reuse / town system Black Water – containment / treatment / reuse / town system Septic Tank Intentions of Household - Aiming Towards ZERO WASTE? |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Transportation Vehicle type(s) _________________________ No. Vehicles _______ Engine Capacity (cc rating) Fuel type ________ Total vehicle travel ___________Km / day (estimated) Combined distance travelled from home to school & work (return) per day according to http://maps.google.co.nz/ _________ km |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Building Design, Construction, Modification & Maintenance Impacts on Environment / Ecosystem – Recycling / Local Materials |  |
| --- | --- |
| Own People – Skill / Labour |  |
| Own Income / Employment |  |
| Own Safety / Security Safety – smoke detectors (functional & where) Civil Emergency Preparedness / Resilience |  |
| Own Community Proximity to Services Proximity to Local Recreation / Entertainment Linking with Support - Green $ / Advice Exchange |  |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

| Homestar™ Report - Complete survey on homestar.org.nz/ - Print Report (attach) - Your Homestar Rating __________ / 10 |  |
| --- | --- |
| Recommendations Consider: Effort Investment Cost Return on Investment Payback Period Priority |  |

NOTES:

REFERENCES:

END